## Job Estimate
| Job Address: |  | DATE
Prepared For:
| Address: | For Estimate- Please Email | QUOTE |  | VALID | PAYMENT
| Contact: | Muhammad@mfbzone.com | NUMBER |  | UNTIL | TERMS
Email:
Index | Dwg Reference # | Description | QTY | UNIT | UNIT PRICE | TOTAL | Comments
GENERAL REQUIREMENTS
1 |  | Supervision and Coordination | 1 | LS | 0 | 0
2 |  | Submittals and Shop drawings | 1 | LS | 0 | 0
3 |  | Final Cleaning | 1 | SF | 0 | 0
4 |  | Mobilization Costs | 1 | LS | 0 | 0
5 |  | Temporary Control & Facilities | 1 | LS | 0 | 0
6 |  | Scaffolding | 14878 | SF | 0 | 0
[5 empty] | TOTAL COST | 0
Index | Dwg Reference # | Description | QTY | UNIT | UNIT PRICE | TOTAL | Comments
| C1.00 C2.00 C2.02 C3.00 C3.01 C3.02 | EXISTING CONDITIONS/SITE WORK
Demolition Plan
7 |  | Remove Asphalt Pavement | 14702.02 | SF | 0 | 0
8 |  | Remove Concrete Pavement | 5051.88 | SF | 0 | 0
9 |  | Remove Office Store Rentals Building | 5944.36 | SF | 0 | 0
10 |  | Remove Ticket Sales Building | 1843.32 | SF | 0 | 0
11 |  | Remove Paver | 22815.65 | SF | 0 | 0
12 |  | Remove Stair | 1231.58 | SF | 0 | 0
13 |  | Remove Wall | 393.02 | LF | 0 | 0
14 |  | Abandon Utility Line | 198.53 | LF | 0 | 0
15 |  | Saw cut | 237.51 | LF | 0 | 0
16 |  | (3") Water Main Remove | 73.01 | LF | 0 | 0
17 |  | (6") Fire Service Remove | 87.86 | LF | 0 | 0
18 |  | (8") Water Main Remove | 171.37 | LF | 0 | 0
19 |  | (2.5") Drain Water System Remove | 63.69 | LF | 0 | 0
20 |  | Remove Sanitary Side Sewer | 80.45 | LF | 0 | 0
21 |  | Remove Trench Drain | 278 | LF | 0 | 0
Utility
22 |  | Remove SDMH | 1 | EA | 0 | 0
23 |  | Abandon SDMH | 2 | EA | 0 | 0
24 |  | Remove Water Vault | 1 | EA | 0 | 0
25 |  | Remove Post Indicator Valve | 2 | EA | 0 | 0
26 |  | Remove Catch Basin | 1 | EA | 0 | 0
27 |  | Remove Fire Hydrant | 1 | EA | 0 | 0
28 |  | Utility Cap | 4 | EA | 0 | 0
29 |  | Caped Strom Drain | 6 | EA | 0 | 0
30 |  | Caped Fire Service | 1 | EA | 0 | 0
31 |  | Connection Water System | 1 | EA | 0 | 0
Erosion & Sediment Control
32 |  | Stabilized Construction Entrance | 2750.25 | SF | 0 | 0
33 |  | Portable Settling Tank (Capacity 61000 Gallons) | 3 | EA | 0 | 0
34 |  | Silt Fence | 298.98 | LF | 0 | 0
35 |  | Interceptor Swale | 1352.18 | LF | 0 | 0
36 |  | Interceptor Dike | 345.92 | LF | 0 | 0
37 |  | Trench Drain Protection | 195.05 | LF | 0 | 0
38 |  | Pump Discharge Line | 140.04 | LF | 0 | 0
39 |  | Gravity Discharge Line | 13.26 | LF | 0 | 0
40 |  | (12") Strom Drain | 82.57 | LF | 0 | 0
41 |  | Check Dam | 25 | EA | 0 | 0
42 |  | Catch Basin Protection | 8 | EA | 0 | 0
43 |  | Temporary SUMP w/ Pump | 1 | EA | 0 | 0
44 |  | Strom Water Manhole | 1 | EA | 0 | 0
45 |  | Strom Water Sampling Point | 1 | EA | 0 | 0
(2'-0" High) Silt Fence (299 LF)
46 |  | (2"x2"x14 GA) Wire Fabric, Or Equivalent | 697 | SF | 0 | 0
47 |  | (2"x4") Wood / Steel Post, Or Equivalent (153 EA) | 459 | SF | 0 | 0
48 |  | (3/4"-1.5") Washed Gravel | 177.2 | CY | 0 | 0
49 |  | Trenching | 177.2 | CY | 0 | 0
Utility Relocation Plan
50 |  | (8") Domestic Water Service | 380.27 | LF | 0 | 0
51 |  | (6") Fire Service | 120.84 | LF | 0 | 0
52 |  | (8") Fire Service | 71.61 | LF | 0 | 0
53 |  | (48") Strom Drain | 231 | LF | 0 | 0
Manhole
54 |  | (96" Dia) SDMH | 2 | EA | 0
55 |  | (72" Dia) SDMH | 1 | EA | 0 | 0
Fittings
56 |  | Fire Hydrant | 3 | EA | 0 | 0
57 |  | (8"x6") Tee | 2 | EA | 0 | 0
58 |  | (8"x3") Tee | 2 | EA | 0 | 0
59 |  | (8") Tee | 2 | EA | 0 | 0
60 |  | Post Indicator Valve | 1 | EA | 0 | 0
61 |  | (3") Gate Valve | 2 | EA | 0 | 0
62 |  | (6") Gate Valve | 1 | EA | 0 | 0
63 |  | (8") Gate Valve | 1 | EA | 0 | 0
64 |  | Gate valve | 2 | EA | 0 | 0
65 |  | Gate Valve | 1 | EA | 0 | 0
66 |  | (90 D) Bend | 1 | EA | 0 | 0
67 |  | (45 D) Bend | 6 | EA | 0 | 0
68 |  | (2") water Meter & Meter Box | 1 | EA | 0 | 0
69 |  | (8"x6") Reducer | 1 | EA | 0 | 0
70 |  | Reducer | 1 | EA | 0 | 0
71 |  | Coupling | 5 | EA | 0 | 0
72 |  | (6") Gate Valve | 1 | EA | 0 | 0
73 |  | (22.5 D) Bend | 1 | EA | 0 | 0
74 |  | Wall Mounted FDC | 1 | EA | 0 | 0
75 |  | Water Crossing Sanitary Sewer | 1 | EA | 0 | 0
[5 empty] | TOTAL SITE WORK COST | 0
Index | Dwg Reference # | Description | QTY | UNIT | UNIT PRICE | TOTAL | Comments
| S2.01 S2.02 | CONCRETE
Slab
76 |  | (5") Thick Slab on Grade Reinf. w/ #4 @ 14" O.C. Bars Each Way - Vapor Retarder - Crushed Stone Base | 9779 | SF | 0 | 0
Footings
77 |  | F4 (4'-0" x 4'-0" x 1'-0") Footing Reinf. w/ (4) #5 Bars Each Way Bottom | 1.2 | CY | 0 | 0
78 |  | F4.5 (4'-6" x 4'-6" x 1'-0") Footing Reinf. w/ (4) #5 Bars Each Way Bottom | 8 | CY | 0 | 0
79 |  | F5.5 (5'-6" x 5'-6" x 1'-2") Footing Reinf. w/ (6) #5 Bars Each Way Bottom | 15 | CY | 0 | 0
80 |  | F5.5a (9'-0" x 5'-6" x 1'-2") Footing Reinf. w/ (6) #5 Bars Longitudinal Bottom & (14) #5 Bars Transverse Bottom | 13 | CY | 0 | 0
81 |  | F8 (8'-0" x 8'-0" x 1'-9") Footing Reinf. w/ (12) #5 Bars Each Way Bottom | 38 | CY | 0 | 0
82 |  | FW2 (2'-0" x 1'-0") Continuous Footing Reinf. w/ (3) #5 Bars Longitudinal Bottom & #5@ 12" O.C.Bars Transverse Bottom | 66 | CY | 0 | 0
Wall Footings
83 |  | R1.0 Wall Footing Reinf. w/ #4 Bars & #6 Bars | 13 | CY | 0 | 0
84 |  | R2.0 Wall Footing Reinf. w/ #4 Bars & #6 Bars | 137 | CY | 0 | 0
85 |  | R3.0 Wall Footing Reinf. w/ #5 Bars & #7 Bars | 81 | CY | 0 | 0
Elevator
86 |  | 8" Concrete Elevator Wall | 6 | CY | 0 | 0
87 |  | 8" Slab on Grade Reinf. W/ #5 Bars @ 12" O.C. Each Way | 155 | SF | 0 | 0
Retaining Walls
88 |  | R1.0 Cantilevered Retaining Wall | 7.797 | CY | 0 | 0
89 |  | R2.0 Cantilevered Retaining Wall | 140.9028 | CY | 0 | 0
90 |  | R3.0 Cantilevered Retaining Wall | 146.06 | CY | 0 | 0
Concrete Wall
91 |  | 8" Thick Concrete Wall | 46 | CY | 0 | 0
Columns
92 |  | (16 x 16) Concrete Column (Height Not Given) | 1 | EA | 0 | 0
[5 empty] | TOTAL CONCRETE COST | 0
Index | Dwg Reference # | Description | QTY | UNIT | UNIT PRICE | TOTAL | Comments
| S2.01 S2.02 S2.03 | METALS
Foundation
93 |  | Steel X-Braced Frame | 16.81 | LF | 0 | 0
Level 2 Framing
94 |  | Steel Eccentric Brace Frame | 46 | LF | 0 | 0
95 |  | Steel X Braced Frame | 44.18 | LF | 0 | 0
96 |  | Exterior Stair#3 Galvanized Steel Expanded Metal Grate Stair - Risers (25 EA) - Treads (24 EA) - Landing (11 SF) | 1 | LOC | 0 | 0
97 |  | Exterior Stair#4 Galvanized Steel Expanded Metal Grate Stair - Risers (24 EA) - Treads (23 EA) - Landing (49 SF) | 1 | LOC | 0 | 0
98 |  | Railing | 120 | LF | 0 | 0
[5 empty] | TOTAL METALS COST | 0
Index | Dwg Reference # | Description | QTY | UNIT | UNIT PRICE | TOTAL | Comments
| S2.02 S2.03 S2.04 | WOOD, PLASTICS & COMPOSITES
99 |  | Glulam Posts | 802 | LF | 0 | 0
Level 2 Framing
100 |  | 18" TJI Joists 560 @ 16"O.C. (6262 LF) - Joist (31 EA) Per (20 LF) - Joist (177 EA) Per (22 LF) - Joist (16 EA) Per (24 LF) - Joist (4 EA) Per (18 LF) - Joist (12 EA) Per (10 LF) - Joist (2 EA) Per (4 LF) - Joist (59 EA) Per (16 LF) - Joist (5 EA) Per (14 LF) - Joist (5 EA) Per (12 LF) - Joist (10 EA) Per (8 LF) - Joist (1 EA) Per (6 LF) - Joist (2 EA) Per (2 LF) | 7969.62 | SF | 0 | 0
101 |  | Low Canopy - (8-3/4" x 21") Glulam Purlins @ (4'-0") O.C. - Plywood (Assumed) - Metal Sheet | 1625.77 | SF | 0 | 0
102 |  | (8-3/4" x 21") Glulam Beams | 396.23 | LF | 0 | 0
103 |  | 3/4" Plywood Deck | 7970 | SF | 0 | 0
Level 3 Framing
104 |  | (8-3/4" x 21") Glulam Purlins @ (4'-0") O.C. @ High Roof | 3526.85 | SF | 0 | 0
105 |  | (8-3/4" x 24") Glulam Beams | 419.53 | LF | 0 | 0
106 |  | (8-3/4" x 21") Glulam Beams @ Interior | 262.94 | LF | 0 | 0
107 |  | (8-3/4" x 13-1/2") Purlins @ (4'-0") O.C. @ Interior | 2077.92 | SF | 0 | 0
108 |  | 8-3/4" x 15") Glulam Beams @ Exterior | 115.76 | LF | 0 | 0
109 |  | (8-3/4" x 15") Purlins @ (4'-0") O.C. @ Exterior | 951.65 | SF | 0 | 0
110 |  | 2x T&G Deck w/ (5") Gypcrete @ Exterior Balcony | 951.1 | SF | 0 | 0
111 |  | 2x T&G Deck w/ (1-1/4") Gypcrete | 1988.41 | SF | 0 | 0
112 |  | 3/4" Plywood Deck @ Low Roof | 4158 | SF | 0 | 0
113 |  | 18" TJI Floor Joists 560 @ 16"O.C. (2568 LF) - Joist (55 EA) Per (22 LF) - Joist (19 EA) Per (20 LF) - Joist (1 EA) Per (16 LF) - Joist (1 EA) Per (14 LF) - Joist (1 EA) Per (12 LF) - Joist (1 EA) Per (10 LF) - Joist (25 EA) Per (32 LF) - Joist (1 EA) Per (30 LF) - Joist (1 EA) Per (28 LF) - Joist (1 EA) Per (26 LF) - Joist (1 EA) Per (24 LF) - Joist (1 EA) Per (18 LF) | 3263 | SF | 0 | 0
114 |  | 18" TJI Roof Joists 560 @ 16"O.C. (1324 LF) @ Low Roof - Joist (10 EA) Per (6 LF) - Joist (4 EA) Per (4 LF) - Joist (5 EA) Per (8 LF) - Joist (22 EA) Per (12 LF) - Joist (5 EA) Per (14 LF) - Joist (27 EA) Per (22 LF) - Joist (28 EA) Per (10 LF) | 1678 | SF | 0 | 0
115 |  | 18" TJI Roof Joists 560 w/ Web Stiffeners @ 12"O.C. (1198 LF) @ Low Roof - Joist (3 EA) Per (34 LF) - Joist (2 EA) Per (36 LF) - Joist (1 EA) Per (26 LF) - Joist (4 EA) Per (10 LF) - Joist (15 EA) Per (20 LF) - Joist (5 EA) Per (14 LF) - Joist (8 EA) Per (8 LF) - Joist (2 EA) Per (2 LF) - Joist (3 EA) Per (32 LF) - Joist (1 EA) Per (30 LF) - Joist (4 EA) Per (12 LF) - Joist (10 EA) Per (22 LF) - Joist (3 EA) Per (16 LF) - Joist (4 EA) Per (18 LF) | 1139 | SF | 0 | 0
Roof Framing
116 |  | (8-3/4"x15") Purlins @ 4'-0" O.C. @ Interior | 4035.4 | SF | 0 | 0
117 |  | (8-3/4"x24") Glulam Beams @ Interior | 505.62 | LF | 0 | 0
118 |  | (8-3/4"x15") Purlins @ 4'-0" O.C. @ Exterior | 1241.44 | SF | 0 | 0
119 |  | (8-3/4" x 15") Glulam Beams @ Exterior | 167.7 | LF | 0 | 0
120 |  | (1/2") T & G Decking (S.S.D) | 5279.23 | SF | 0 | 0
121 |  | (1/2") Plywood (S.S.D) | 5279.23 | SF | 0 | 0
Stairs
1st Floor
122 |  | Interior Stairs#1 - Risers (23 EA) - Treads (22 EA) - Landing (79 SF) | 1 | LOC | 0 | 0
123 |  | Interior Stairs#2 - Risers (22 EA) - Treads (21 EA) - Landing (36 SF) | 1 | LOC | 0 | 0
2nd Floor
124 |  | Interior Stairs#1 - Risers (23 EA) - Treads (22 EA) - Landing (79 SF) | 1 | LOC | 0 | 0
125 |  | Interior Stairs#2 - Risers (21 EA) - Treads (20 EA) - Landing (36 SF) | 1 | LOC | 0 | 0
3rd Floor
126 |  | Interior Stairs#1 - Risers (22 EA) - Treads (21 EA) - Landing (79 SF) | 1 | LOC | 0 | 0
[5 empty] | TOTAL WOOD, PLATSICS & COMPOSITES COST | 0
Index | Dwg Reference # | Description | QTY | UNIT | UNIT PRICE | TOTAL | Comments
THERMAL & MOISTIRE PROTECTION
Roofing
127 |  | 9" Polyiso Rigid Insulation | 5279 | SF | 0 | 0
128 |  | 1/2" Roof Board | 5279 | SF | 0 | 0
129 |  | Single Ply Membrane | 5279 | SF | 0 | 0
130 |  | Sarnafil 80 MIL. PVC | 5279 | SF | 0 | 0
Flooring
2nd Floor
131 |  | 1/4" Acoustic Mat | 7970 | SF | 0 | 0
3rd Floor
132 |  | 1/4" Acoustic Mat | 5722 | SF | 0 | 0
[5 empty] | TOTAL THERMAL & MOISTURE PROTECTION COST | 0
Index | Dwg Reference # | Description | QTY | UNIT | UNIT PRICE | TOTAL | Comments
| A2.01 A2.02 A2.03 | Openings
Doors
1st Floor
Exterior Doors
133 |  | (2'-9" x 8'-0") Door w/ Frame & Hardware | 3 | EA | 0 | 0
134 |  | (6'-0" x 8'-0") Door w/ Frame & Hardware | 2 | EA | 0 | 0
135 |  | (6'-6" x 8'-0") Door w/ Frame & Hardware | 4 | EA | 0 | 0
Interior Doors
136 |  | (3'-0" x 7'-0") Door w/ Frame & Hardware | 14 | EA | 0 | 0
137 |  | (6'-6" x 7'-0") Door w/ Frame & Hardware | 3 | EA | 0 | 0
138 |  | (6'-0" x 7'-0") Door w/ Frame & Hardware | 3 | EA | 0 | 0
139 |  | (3'-9" x 7'-0") Elevator Door w/ Frame & Hardware | 2 | EA | 0 | 0
2nd Floor
Exterior Doors
140 |  | (6'-6" x 8'-0") Door w/ Frame & Hardware | 3 | EA | 0 | 0
141 |  | (3'-6" x 8'-0") Door w/ Frame & Hardware | 1 | EA | 0 | 0
Interior Doors
142 |  | (3'-0" x 7'-0") Door w/ Frame & Hardware | 7 | EA | 0 | 0
143 |  | (3'-9" x 7'-0") Elevator Door w/ Frame & Hardware | 2 | EA | 0 | 0
144 |  | (4'-0" x 7'-0") Door w/ Frame & Hardware | 1 | EA | 0 | 0
145 |  | (3'-6" x 7'-0") Door w/ Frame & Hardware | 1 | EA | 0 | 0
146 |  | (6'-6" x 7'-0") Door w/ Frame & Hardware | 3 | EA | 0 | 0
3rd Floor
147 |  | (3'-10" x 8'-0") Elevator Door w/ Frame & Hardware | 2 | EA | 0 | 0
148 |  | (3'-0" x 7'-0") Door w/ Frame & Hardware | 6 | EA | 0 | 0
149 |  | (5'-0" x 8'-0") Door w/ Frame & Hardware | 1 | EA | 0 | 0
150 |  | (6'-6" x 8'-0") Door w/ Frame & Hardware | 3 | EA | 0 | 0
Doors Hardware's
1st Floor
151 |  | Door Hardware Set | 31 | EA | 0 | 0
2nd Floor
152 |  | Door Hardware Set | 18 | EA | 0 | 0
3rd Floor
153 |  | Door Hardware Set | 12 | EA | 0 | 0
Windows
154 |  | (1'-0" x 8'-0") Window w/ Frame | 2 | EA | 0 | 0
155 |  | (1'-10" x 3'-4") Window w/ Frame | 1 | EA | 0 | 0
156 |  | (1'-6" x 8'-0") Window w/ Frame | 4 | EA | 0 | 0
157 |  | (1'-9" x 6'-0") Window w/ Frame | 2 | EA | 0 | 0
158 |  | (2'-0" x 8'-0") Window w/ Frame | 1 | EA | 0 | 0
159 |  | (2'-6" x 8'-0") Window w/ Frame | 3 | EA | 0 | 0
160 |  | (3'-0" x 2'-0") Window w/ Frame | 2 | EA | 0 | 0
161 |  | (3'-0" x 3'-4") Window w/ Frame | 4 | EA | 0 | 0
162 |  | (3'-3" x 8'-0") Window w/ Frame | 2 | EA | 0 | 0
163 |  | (3'-4" x 5'-0") Window w/ Frame | 2 | EA | 0 | 0
164 |  | (3'-4" x 8'-0") Window w/ Frame | 3 | EA | 0 | 0
165 |  | (3'-5" x 8'-3") Window w/ Frame | 1 | EA | 0 | 0
166 |  | (3'-6" x 2'-0") Window w/ Frame | 4 | EA | 0 | 0
167 |  | (3'-6" x 8'-0") Window w/ Frame | 13 | EA | 0 | 0
168 |  | (4'-0" x 14'-0") Window w/ Frame | 1 | EA | 0 | 0
169 |  | (4'-0" x 18'-6") Window w/ Frame | 1 | EA | 0 | 0
170 |  | (4'-0" x 2'-0") Window w/ Frame | 1 | EA | 0 | 0
171 |  | (4'-0" x 3'-10") Window w/ Frame | 9 | EA | 0 | 0
172 |  | (4'-0" x 5'-0") Window w/ Frame | 1 | EA | 0 | 0
173 |  | (4'-0" x 8'-0") Window w/ Frame | 3 | EA | 0 | 0
174 |  | (4'-10" x 8'-0") Window w/ Frame | 6 | EA | 0 | 0
175 |  | (4'-3" x 4'-0") Window w/ Frame | 1 | EA | 0 | 0
176 |  | (4'-6" x 2'-0") Window w/ Frame | 3 | EA | 0 | 0
177 |  | (4'-6" x 5'-0") Window w/ Frame | 2 | EA | 0 | 0
178 |  | (4'-6" x 8'-0") Window w/ Frame | 2 | EA | 0 | 0
179 |  | (4'-8" x 8'-0") Window w/ Frame | 1 | EA | 0 | 0
180 |  | (4'-9" x 2'-0") Window w/ Frame | 3 | EA | 0 | 0
181 |  | (4'-9" x 5'-0") Window w/ Frame | 3 | EA | 0 | 0
182 |  | (5'-0" x 2'-0") Window w/ Frame | 3 | EA | 0 | 0
183 |  | (5'-0" x 3'-10") Window w/ Frame | 6 | EA | 0 | 0
184 |  | (5'-0" x 5'-0") Window w/ Frame | 3 | EA | 0 | 0
185 |  | (5'-0" x 8'-0") Window w/ Frame | 6 | EA | 0 | 0
186 |  | (5'-3" x 2'-0") Window w/ Frame | 2 | EA | 0 | 0
187 |  | (6'-0" x 2'-0") Window w/ Frame | 2 | EA | 0 | 0
188 |  | (6'-0" x 3'-10") Window w/ Frame | 2 | EA | 0 | 0
189 |  | (6'-0" x 8'-0") Window w/ Frame | 3 | EA | 0 | 0
190 |  | (6'-0" x 8'-2") Window w/ Frame | 1 | EA | 0 | 0
191 |  | (6'-2" x 3'-10") Window w/ Frame | 1 | EA | 0 | 0
192 |  | (6'-3" x 2'-0") Window w/ Frame | 1 | EA | 0 | 0
193 |  | (6'-3" x 5'-0") Window w/ Frame | 1 | EA | 0 | 0
194 |  | (6'-6" x 2'-0") Window w/ Frame | 1 | EA | 0 | 0
195 |  | (6'-6" x 3'-4") Window w/ Frame | 3 | EA | 0 | 0
196 |  | (6'-6" x 5'-0") Window w/ Frame | 2 | EA | 0 | 0
197 |  | (6'-6" x 8'-0") Window w/ Frame | 1 | EA | 0 | 0
198 |  | (7'-0" x 8'-0") Window w/ Frame | 1 | EA | 0 | 0
199 |  | (8'-0" x 2'-0") Window w/ Frame | 6 | EA | 0 | 0
200 |  | (9'-0" x 2'-0") Window w/ Frame | 1 | EA | 0 | 0
[5 empty] | TOTAL OPENINGS COST | 0
Index | Dwg Reference # | Description | QTY | UNIT | UNIT PRICE | TOTAL | Comments
| A2.01 A2.02 A2.03 A3.00 A3.01 A3.02 A6.01 A6.02 A6.03 | Finishes
Walls
1st Floor
Interior Walls
201 |  | Top & Bottom Plates | 1028 | LF | 0 | 0
202 |  | (5/8") Gypsum Wall Board | 11088 | SF | 0 | 0
203 |  | (2x6) Wood Studs @ 16" O.C. | 6168 | SF | 0 | 0
204 |  | Acoustical Batt Insulation (If Required) | 6168 | SF | 0 | 0
205 |  | Sealants | 2056 | LF | 0 | 0
206 |  | Moisture Resistant Gypsum Board | 1248 | SF | 0 | 0
Exterior Walls
207 |  | Top & Bottom Plates | 680 | LF | 0 | 0
208 |  | 5/8" Gypsum Wall Board (Interior Side) | 3835.68 | SF | 0 | 0
209 |  | Air/Vapor Barrier | 3835.68 | SF | 0 | 0
210 |  | (5-1/2") Wood Studs | 4075.68 | SF | 0 | 0
211 |  | R-21 Mineral Wool Batt Insulation | 4075.68 | SF | 0 | 0
212 |  | (1/2") Plywood (SSD) | 3835.68 | SF | 0 | 0
213 |  | 5/8" Gypsum Wall Board (Exterior Side) | 3835.68 | SF | 0 | 0
214 |  | Composite Panel w/ (5/8") FRT Plywood | 3835.68 | SF | 0 | 0
215 |  | 2" Rigid Polyiso Insulation | 4075.68 | SF | 0 | 0
216 |  | Sealants | 680 | LF | 0 | 0
Plumbing Wall
217 |  | Top & Bottom Plates | 214 | LF | 0 | 0
218 |  | (5/8") Gypsum Wall Board | 1284 | SF | 0 | 0
219 |  | (2x6) Wood Studs @ 16" O.C. | 1284 | SF | 0 | 0
220 |  | Sealants | 428 | LF | 0 | 0
Elevator Shaft Wall
221 |  | Top & Bottom Plates | 120 | LF | 0 | 0
222 |  | (5/8") Gypsum Wall Board | 720 | SF | 0 | 0
223 |  | (2x6) Wood Studs @ 16" O.C. | 720 | SF | 0 | 0
224 |  | Sealants | 120 | LF | 0 | 0
225 |  | Plywood/ Liner Panel | 720 | SF | 0 | 0
Furring @ Exterior Wall
226 |  | 1/2" Furring Channels | 3552 | SF | 0 | 0
Furring @ Retaining Wall
227 |  | 1/2" Furring Channels | 1824 | SF | 0 | 0
2nd Floor
Interior Walls
228 |  | Top & Bottom Plates | 1060.6 | LF | 0 | 0
229 |  | (5/8") Gypsum Wall Board | 12197.9 | SF | 0 | 0
230 |  | (2x6) Wood Studs @ 16" O.C. | 6893.9 | SF | 0 | 0
231 |  | Acoustical Batt Insulation (If Required) | 6893.9 | SF | 0 | 0
232 |  | Sealants | 2121.2 | LF | 0 | 0
233 |  | Moisture Resistant Gypsum Board | 598 | SF | 0 | 0
Plumbing Wall
234 |  | Top & Bottom Plates | 100.54 | LF | 0 | 0
235 |  | (5/8") Gypsum Wall Board | 653.51 | SF | 0 | 0
236 |  | (2x6) Wood Studs @ 16" O.C. | 653.51 | SF | 0 | 0
237 |  | Sealants | 202 | LF | 0 | 0
Exterior Wall
238 |  | Top & Bottom Plates | 1140 | LF | 0 | 0
239 |  | 5/8" Gypsum Wall Board (Interior Side) | 6838 | SF | 0 | 0
240 |  | Air/Vapor Barrier | 6838 | SF | 0 | 0
241 |  | (5-1/2") Wood Studs | 7410 | SF | 0 | 0
242 |  | R-21 Mineral Wool Batt Insulation | 7410 | SF | 0 | 0
243 |  | (1/2") Plywood (SSD) | 6838 | SF | 0 | 0
244 |  | 5/8" Gypsum Wall Board (Exterior Side) | 6838 | SF | 0 | 0
245 |  | Composite Panel w/ (5/8") FRT Plywood | 6838 | SF | 0 | 0
246 |  | 2" Rigid Polyiso Insulation | 7410 | SF | 0 | 0
247 |  | Sealants | 1140 | LF | 0 | 0
Elevator Shaft Wall
248 |  | Top & Bottom Plates | 120 | LF | 0 | 0
249 |  | (5/8") Gypsum Wall Board | 780 | SF | 0 | 0
250 |  | (2x6) Wood Studs @ 16" O.C. | 780 | SF | 0 | 0
251 |  | Sealants | 120 | LF | 0 | 0
252 |  | Plywood/ Liner Panel | 780 | SF | 0 | 0
Folding partition
253 |  | Top & Bottom Plates | 67.34 | LF | 0 | 0
254 |  | (5/8") Gypsum Wall Board | 437.71 | SF | 0 | 0
255 |  | (2x6) Wood Studs @ 16" O.C. | 437.71 | SF | 0 | 0
256 |  | Sealants | 67 | LF | 0 | 0
3rd Floor
Interior Walls
257 |  | Top & Bottom Plates | 332.8 | LF | 0 | 0
258 |  | (5/8") Gypsum Wall Board | 2558 | SF | 0 | 0
259 |  | (2x6) Wood Studs @ 16" O.C. | 1664 | SF | 0 | 0
260 |  | Acoustical Batt Insulation (If Required) | 1664 | SF | 0 | 0
261 |  | Sealants | 666 | LF | 0 | 0
262 |  | Moisture Resistant Gypsum Board | 770 | SF | 0 | 0
Plumbing Wall
263 |  | Top & Bottom Plates | 68.08 | LF | 0 | 0
264 |  | (5/8") Gypsum Wall Board | 340.4 | SF | 0 | 0
265 |  | (2x6) Wood Studs @ 16" O.C. | 340.4 | SF | 0 | 0
266 |  | Sealants | 136.16 | LF | 0 | 0
Elevator Shaft Wall
267 |  | Top & Bottom Plates | 120 | LF | 0 | 0
268 |  | (5/8") Gypsum Wall Board | 600 | SF | 0 | 0
269 |  | (2x6) Wood Studs @ 16" O.C. | 600 | SF | 0 | 0
270 |  | Sealants | 120 | LF | 0 | 0
271 |  | Plywood/ Liner Panel | 600 | SF | 0 | 0
Exterior Walls
272 |  | Top & Bottom Plates | 400 | LF | 0 | 0
273 |  | 5/8" Gypsum Wall Board (Interior Side) | 3305.6 | SF | 0 | 0
274 |  | Air/Vapor Barrier | 3305.6 | SF | 0 | 0
275 |  | (5-1/2") Wood Studs | 3999.6 | SF | 0 | 0
276 |  | R-21 Mineral Wool Batt Insulation | 3999.6 | SF | 0 | 0
277 |  | (1/2") Plywood (SSD) | 3305.6 | SF | 0 | 0
278 |  | 5/8" Gypsum Wall Board (Exterior Side) | 3305.6 | SF | 0 | 0
279 |  | Composite Panel w/ (5/8") FRT Plywood | 3305.6 | SF | 0 | 0
280 |  | 2" Rigid Polyiso Insulation | 3999.6 | SF | 0 | 0
281 |  | Sealants | 400 | LF | 0 | 0
Folding Partition
282 |  | Top & Bottom Plates | 79.1 | LF | 0 | 0
283 |  | (5/8") Gypsum Wall Board | 395.5 | SF | 0 | 0
284 |  | (2x6) Wood Studs @ 16" O.C. | 395.5 | SF | 0 | 0
285 |  | Sealants | 79 | LF | 0 | 0
Exterior Panel
286 |  | Panel | 1410.2 | SF | 0 | 0
Toilet Partitions
1st Floor
287 |  | Toilet Partitions @ Women's Washroom w/ 6 Doors (H=6'-0") Assumed | 263.52 | SF | 0 | 0
288 |  | Toilet Partitions @ Men's Washroom w/ 3 Doors (H=6'-0") Assumed | 169.56 | SF | 0 | 0
2nd Floor
289 |  | Toilet Partitions @ Girls Washroom w/ 4 Doors (H=6'-0") Assumed | 170.04 | SF | 0 | 0
290 |  | Toilet Partitions @ Boys Washroom w/ 2 Doors (H=6'-0") Assumed | 124.74 | SF | 0 | 0
3rd Floor
291 |  | Toilet Partitions @ Men Washroom w/ 2 Doors (H=6'-0") Assumed | 101.58 | SF | 0 | 0
292 |  | Toilet Partitions @ Women Washroom w/ 3 Doors (H=6'-0") Assumed | 119.7 | SF | 0 | 0
Floor Finishes
1st Floor
293 |  | Floor Finish @ Mechanical Room | 994 | SF | 0 | 0
294 |  | Floor Finish @ Electrical Switchgear | 298 | SF | 0 | 0
295 |  | Floor Finish @ Telecom | 81 | SF | 0 | 0
296 |  | Floor Finish @ Storage Room 1 | 405 | SF | 0 | 0
297 |  | Floor Finish @ Trash/ Recycle | 141 | SF | 0 | 0
298 |  | Floor Finish @ Service Lobby | 245 | SF | 0 | 0
299 |  | Floor Finish @ Janitor Closet | 50 | SF | 0 | 0
300 |  | Floor Finish @ Elevator Control | 62 | SF | 0 | 0
301 |  | Floor Finish @ Lobby | 307 | SF | 0 | 0
302 |  | Floor Finish @ Storage Room 2 | 373 | SF | 0 | 0
303 |  | Floor Finish @ Staircase Room#2 | 143 | SF | 0 | 0
304 |  | Floor Finish @ Toilet | 61 | SF | 0 | 0
305 |  | Floor Finish @ Office 1 | 138 | SF | 0 | 0
306 |  | Floor Finish @ Office 2 | 124 | SF | 0 | 0
307 |  | Floor Finish @ Kitchen | 442 | SF | 0 | 0
308 |  | Floor Finish @ Cafe & Retail/Guest Services | 3465 | SF | 0 | 0
309 |  | Floor Finish @ Staircase Room #1 | 543 | SF | 0 | 0
310 |  | Floor Finish @ Vestibule | 390 | SF | 0 | 0
311 |  | Floor Finish @ Fitting Room 1 | 70 | SF | 0 | 0
312 |  | Floor Finish @ Fitting Room 2 | 58 | SF | 0 | 0
313 |  | Floor Finish @ Family Room | 73 | SF | 0 | 0
314 |  | Floor Finish @ Men Washroom | 292 | SF | 0 | 0
315 |  | Floor Finish @ Women Washroom | 326 | SF | 0 | 0
2nd Floor
316 |  | Floor Finish @ SKI Storage | 1065 | SF | 0 | 0
317 |  | Floor Finish @ SKI Apparel Rental | 147 | SF | 0 | 0
318 |  | Floor Finish @ Rental | 2212 | SF | 0 | 0
319 |  | Floor Finish @ Rental Office | 124 | SF | 0 | 0
320 |  | Floor Finish @ Service Room | 202 | SF | 0 | 0
321 |  | Floor Finish @ Lobby | 58 | SF | 0 | 0
322 |  | Floor Finish @ Stair#2 | 162 | SF | 0 | 0
323 |  | Floor Finish @ SKI School | 1477 | SF | 0 | 0
324 |  | Floor Finish @ Queue/Flex | 727 | SF | 0 | 0
325 |  | Floor Finish @ Vest Room | 109 | SF | 0 | 0
326 |  | Floor Finish @ Stair 1 | 422 | SF | 0 | 0
327 |  | Floor Finish @ Boot Fitting | 119 | SF | 0 | 0
328 |  | Floor Finish @ Tunning | 409 | SF | 0 | 0
329 |  | Floor Finish @ Vest 2 | 60 | SF | 0 | 0
330 |  | Floor Finish @ Vest 3 | 60 | SF | 0 | 0
331 |  | Floor Finish @ Kids Lavatories | 101 | SF | 0 | 0
332 |  | Floor Finish @ Boys Washroom | 182 | SF | 0 | 0
333 |  | Floor Finish @ Girls Washroom | 181 | SF | 0 | 0
3rd Floor
334 |  | Floor Finish @ Function Room | 971 | SF | 0 | 0
335 |  | Floor Finish @ Kitchen | 488 | SF | 0 | 0
336 |  | Floor Finish @ Hall | 200 | SF | 0 | 0
337 |  | Floor Finish @ Lobby | 73 | SF | 0 | 0
338 |  | Floor Finish @ PreFunction | 911 | SF | 0 | 0
339 |  | Floor Finish @ Stair 1 | 443 | SF | 0 | 0
340 |  | Floor Finish @ Lounge | 189 | SF | 0 | 0
341 |  | Floor Finish @Women Washroom | 301 | SF | 0 | 0
Ceiling Finishes
1st Floor
342 |  | Exposed Structure Ceiling @ Mechanical Room | 989 | SF | 0 | 0
343 |  | Exposed Structure Ceiling @ Telecom | 83 | SF | 0 | 0
344 |  | Exposed Structure Ceiling @ Electrical Switchgear | 295 | SF | 0 | 0
345 |  | Exposed Structure Ceiling @ Storage 1 | 404 | SF | 0 | 0
346 |  | Exposed Structure Ceiling @ Service Lobby | 243 | SF | 0 | 0
347 |  | Exposed Structure Ceiling @ Janitor Closet | 51 | SF | 0 | 0
348 |  | Exposed Structure Ceiling @ Elevator Control | 62 | SF | 0 | 0
349 |  | Exposed Structure Ceiling @ Storage 2 | 371 | SF | 0 | 0
350 |  | Ceiling @ Kitchen 104 | 440 | SF | 0 | 0
351 |  | Gypsum Board Ceiling @ Lobby | 310 | SF | 0 | 0
352 |  | Gypsum Board Ceiling @ Office 2 | 124 | SF | 0 | 0
353 |  | Gypsum Board Ceiling @ Office 1 | 139 | SF | 0 | 0
354 |  | Gypsum Board Ceiling @ Women Washroom | 328 | SF | 0 | 0
355 |  | Gypsum Board Ceiling @ Men's Washroom | 292 | SF | 0 | 0
356 |  | Gypsum Board Ceiling @ Family Room | 73 | SF | 0 | 0
357 |  | Gypsum Board Ceiling @ Fitting Room 2 | 58 | SF | 0 | 0
358 |  | Gypsum Board Ceiling @ Fitting Room 1 | 71 | SF | 0 | 0
359 |  | Gypsum Board Ceiling @ Retail/Guest Services | 1735 | SF | 0 | 0
360 |  | Exposed Structural T&G Planking | 999 | SF | 0 | 0
361 |  | Gypsum Board Ceiling @Toilet | 53 | SF | 0 | 0
2nd Floor
362 |  | Gypsum Board Ceiling @ SKI Storage | 1061 | SF | 0 | 0
363 |  | Gypsum Board Ceiling @ SKI Apparel Rental | 147 | SF | 0 | 0
364 |  | Gypsum Board Ceiling @ Rental Office | 124 | SF | 0 | 0
365 |  | Gypsum Board Ceiling @ Rental | 828 | SF | 0 | 0
366 |  | Gypsum Board Ceiling @ Lobby | 57 | SF | 0 | 0
367 |  | Gypsum Board Ceiling @ Service | 198 | SF | 0 | 0
368 |  | Gypsum Board Ceiling @ Vestibule 1 | 84 | SF | 0 | 0
369 |  | Gypsum Board Ceiling(Assume) @ Staircase | 167 | SF | 0 | 0
370 |  | Gypsum Board Ceiling @ Quie/Flex | 666 | SF | 0 | 0
371 |  | Gypsum Board Ceiling @ Ski School | 1074 | SF | 0 | 0
372 |  | Gypsum Board Ceiling @ Kids Lavatories | 87 | SF | 0 | 0
373 |  | Gypsum Board Ceiling @ Girls Washroom | 179 | SF | 0 | 0
374 |  | Gypsum Board Ceiling @ Boys Washroom | 180 | SF | 0 | 0
375 |  | Exposed Structural T&G Planking @ Vestibule 2 | 39 | SF | 0 | 0
376 |  | Exposed Structural T&G Planking @ Vestibule 3 | 38 | SF | 0 | 0
377 |  | Exposed Structural T&G Planking @ Boot Fitting | 119 | SF | 0 | 0
378 |  | Exposed Structural T&G Planking @ Tunning | 411 | SF | 0 | 0
379 |  | Exposed Structural T&G Planking @ Rental | 1384 | SF | 0 | 0
380 |  | Exposed Structural T&G Planking @ Entering | 670 | SF | 0 | 0
381 |  | Exposed Structural T&G Planking @ Opening | 3839 | SF | 0 | 0
382 |  | Exposed Structural T&G Planking @ Cafe Terrace | 111 | SF | 0 | 0
3rd Floor
383 |  | Gypsum Board Ceiling Assume @ Kitchen | 489 | SF | 0 | 0
384 |  | Gypsum Board Ceiling Assume @ Hall | 196 | SF | 0 | 0
385 |  | Gypsum Board Ceiling Assume @ Lobby | 68 | SF | 0 | 0
386 |  | Exposed Structural T&G Planking @ Function | 961 | SF | 0 | 0
387 |  | Exposed Structural T&G Planking @ Prefunction | 859 | SF | 0 | 0
388 |  | Exposed Structural T&G Planking @ Staircase | 439 | SF | 0 | 0
389 |  | Gypsum Board Ceiling @ Men's Washroom | 149 | SF | 0 | 0
390 |  | Gypsum Board Ceiling @ Snow Front | 1141 | SF | 0 | 0
391 |  | Gypsum Board Ceiling @ Lounge | 183 | SF | 0 | 0
392 |  | Gypsum Board Ceiling @ Women's Washroom | 151 | SF | 0 | 0
393 |  | Exposed Structure Ceiling @ Shade Area | 389 | SF | 0 | 0
Wall Finishes
1st Floor
Wall Base
394 |  | 4" Vinyl Wall Base | 1104 | LF | 0 | 0
Tiles
395 |  | Tile @ Toilet (6'-0" H) Assumed | 14 | SF | 0 | 0
396 |  | Tile @ Family Room (6'-0" H) Assumed | 16 | SF | 0 | 0
397 |  | Tile @ Men's Washroom (6'-0" H) Assumed | 54 | SF | 0 | 0
398 |  | Tile @ Women Washroom (6'-0" H) Assumed | 53 | SF | 0 | 0
2nd Floor
Wall Base
399 |  | 4" Vinyl Wall Base | 1172 | LF | 0 | 0
Tiles
400 |  | Tile @ Kids Lavatory (6'-0" H) Assumed | 13 | SF | 0 | 0
401 |  | Tile @ Girls Washroom (6'-0" H) Assumed | 37 | SF | 0 | 0
402 |  | Tile @ Boys Washroom (6'-0" H) Assumed | 35 | SF | 0 | 0
3rd Floor
Wall Base
403 |  | 4" Vinyl Wall Base | 403 | LF | 0 | 0
Tiles
404 |  | Tile @ Women Washroom (6'-0" H) Assumed | 30 | SF | 0 | 0
405 |  | Tile @ Men's Washroom (6'-0" H) Assumed | 27 | SF | 0 | 0
Exterior Finishes
406 |  | Siding 1 | 426 | SF | 0 | 0
407 |  | Siding 2 | 8486 | SF | 0 | 0
408 |  | Siding 3 | 103 | SF | 0 | 0
409 |  | Siding 4 | 2985 | SF | 0 | 0
410 |  | Siding 5 | 276 | SF | 0 | 0
Paint
Door Paint
1st Floor
411 |  | Paint @ Door | 1866 | SF | 0 | 0
412 |  | Paint @ Door Frame | 567 | LF | 0 | 0
413 |  | Paint @ Door Trims | 1134 | LF | 0 | 0
2nd Floor
414 |  | Paint @ Door | 1100 | SF | 0 | 0
415 |  | Paint @ Door Frame | 331 | LF | 0 | 0
416 |  | Paint @ Door Trims | 662 | LF | 0 | 0
3rd Floor
417 |  | Paint @ Door | 702 | SF | 0 | 0
418 |  | Paint @ Door Frame | 218 | LF | 0 | 0
419 |  | Paint @ Door Trims | 436 | LF | 0 | 0
Windows Paint
420 |  | Paint @ Window Frame | 2548 | LF | 0 | 0
421 |  | Paint @ Window Trims | 5096 | LF | 0 | 0
Wall Paint
1st Floor
422 |  | Paint @ Walls | 15604 | SF | 0 | 0
2nd Floor
423 |  | Paint @ Walls | 7164 | SF | 0 | 0
3rd Floor
424 |  | Paint @ Walls | 4258 | SF | 0 | 0
Ceiling Paint
1st Floor
425 |  | Paint @ Exposed Structure Ceiling | 2498 | SF | 0 | 0
426 |  | Paint @ Gypsum Board Ceiling | 3183 | SF | 0 | 0
427 |  | Paint @ Ceiling (Kitchen Area) | 440 | SF | 0 | 0
428 |  | Paint @ Exposed Structural T&G Planking | 999 | SF | 0 | 0
2nd Floor
429 |  | Paint @ Gypsum Board Ceiling | 4852 | SF | 0 | 0
430 |  | Paint @ Exposed Structural T&G Planking | 6611 | SF | 0 | 0
3rd Floor
431 |  | Paint @ Exposed Structure Ceiling | 389 | SF | 0 | 0
432 |  | Paint @ Gypsum Board Ceiling | 2377 | SF | 0 | 0
433 |  | Paint @ Exposed Structural T&G Planking | 2259 | SF | 0 | 0
[5 empty] | TOTAL FINISHES COST | 0
Index | Dwg Reference # | Description | QTY | UNIT | UNIT PRICE | TOTAL | Comments
| A2.01 A2.02 A2.03 | SPECIALITIES
434 |  | Ski/ Snow Board Rack | 45 | EA | 0 | 0
435 |  | Skiosk | 1 | EA | 0 | 0
436 |  | POS | 3 | EA | 0 | 0
437 |  | Boot Fit Stations | 3 | EA | 0 | 0
438 |  | Computers | 8 | EA | 0 | 0
439 |  | Lockers | 7 | EA | 0 | 0
1st Floor
440 |  | Counter Top @ Men's Washroom | 19.55 | SF | 0 | 0
441 |  | Counter Top @ Women's Washroom | 27.9 | SF | 0 | 0
442 |  | Vanity Cabinet @ Men's Washroom | 9.34 | LF | 0 | 0
443 |  | Vanity Cabinet @ Women's Washroom | 13.69 | LF | 0 | 0
444 |  | (36") Grab Bar | 8 | EA | 0 | 0
445 |  | (42") Grab Bar | 8 | EA | 0 | 0
446 |  | Mirror @ Men's Washroom | 3 | EA | 0 | 0
447 |  | Mirror @ Women's Washroom | 4 | EA | 0 | 0
448 |  | Soap Dispenser @ Men's Washroom | 3 | EA | 0 | 0
449 |  | Soap Dispenser @ Women's Washroom | 4 | EA | 0 | 0
450 |  | Tissue Dispenser @ Women's Washroom | 6 | EA | 0 | 0
451 |  | Tissue Dispenser @ Men's Washroom | 3 | EA | 0 | 0
2nd Floor
452 |  | Counter Top @ Kid Lays | 20.71 | SF | 0 | 0
453 |  | Vanity Cabinet @ Kid Lays | 10.21 | LF | 0 | 0
3rd Floor
454 |  | Mirror @ Men's Washroom | 2 | EA | 0 | 0
455 |  | Mirror @ Women's Washroom | 2 | EA | 0 | 0
456 |  | Soap Dispenser @ Men's Washroom | 2 | EA | 0 | 0
457 |  | Soap Dispenser @ Women's Washroom | 2 | EA | 0 | 0
458 |  | Tissue Dispenser @ Women's Washroom | 3 | EA | 0 | 0
459 |  | Tissue Dispenser @ Men's Washroom | 2 | EA | 0 | 0
460 |  | Counter Top @ Men's Washroom | 10.99 | SF | 0 | 0
461 |  | Counter Top @ Women's Washroom | 10.58 | SF | 0 | 0
462 |  | Vanity Cabinet @ Women's Washroom | 5.4 | LF | 0 | 0
463 |  | Vanity Cabinet @ Men's Washroom | 5.37 | LF | 0 | 0
[5 empty] | TOTAL SPECIALITIES COST | 0
Index | Dwg Reference # | Description | QTY | UNIT | UNIT PRICE | TOTAL | Comments
| A7.00 | CONVEYING SYSTEM
464 |  | Elevator #1 | 1 | EA | 0 | 0
465 |  | Elevator# 2 | 1 | EA | 0 | 0
[5 empty] | TOTAL CONVEYING SYSTEM COST | 0
Index | Dwg Reference # | Description | QTY | UNIT | UNIT PRICE | TOTAL | Comments
| P0.00 P1.01 P1.02 P2.01 P2.02 P2.03 P7.0 | PLUMBING
Level 1
466 |  | RPBP -(3") Reduced Pressure Backflow Preventer Manf. WATTS | 1 | EA | 0 | 0
467 |  | WH -Water Hammer Arrester | 4 | EA | 0 | 0
468 |  | Floor Area for Plumbing | 11136.01 | SF | 0 | 0
Level 2
469 |  | Floor Area for Plumbing | 10917 | SF | 0 | 0
Level 3
470 |  | Floor Area for Plumbing | 4260.08 | SF | 0 | 0
Plumbing Fixtures
1st Floor
471 |  | Lavatory @ Men's Washroom | 3 | EA | 0 | 0
472 |  | Lavatory @ Family Room | 1 | EA | 0 | 0
473 |  | Lavatory @ Toilet Room | 1 | EA | 0 | 0
474 |  | Lavatory @ Women's Washroom | 6 | EA | 0 | 0
475 |  | Faucet | 11 | EA | 0 | 0
476 |  | Sink @ Family Room | 1 | EA | 0 | 0
477 |  | Sink @ Men's Washroom | 3 | EA | 0 | 0
478 |  | Sink @ Women Washrooms | 4 | EA | 0 | 0
479 |  | Urinal @ Men's Washroom | 3 | EA | 0 | 0
2nd Floor
480 |  | Sink @ Kid Lays | 4 | EA | 0 | 0
481 |  | Lavatory @ Boys Washroom | 2 | EA | 0 | 0
482 |  | Lavatory @ Girls Washroom | 4 | EA | 0 | 0
483 |  | Faucet | 6 | EA | 0 | 0
484 |  | Urinal @ Boys | 2 | EA | 0 | 0
3rd Floor
485 |  | Sink @ Men's Washroom | 2 | EA | 0 | 0
486 |  | Sink @ Women's Washroom | 2 | EA | 0 | 0
487 |  | Lavatory @ Men's Washroom | 2 | EA | 0 | 0
488 |  | Lavatory @ Women's Washroom | 3 | EA | 0 | 0
489 |  | Faucet | 5 | EA | 0 | 0
490 |  | Urinal @ Men's Washroom | 1 | EA | 0 | 0
[5 empty] | TOTAL PLUMBING COST | 0
Index | Dwg Reference # | Description | QTY | UNIT | UNIT PRICE | TOTAL | Comments
| M1 M1.01 M1.02 M1.03 M1.04 M2.01 M2.02 M2.03 M2.07 | HVAC/ MECHANICAL
Mechanical Site Plan
Equipment & Units
491 |  | Dedicated Outdoor Air System | 1 | EA | 0 | 0
492 |  | Makeup Air Unit | 2 | EA | 0 | 0
493 |  | ODU# 1 Outdoor Condensing Unit Manuf: LG Model: ARUM144BTE5 | 1 | EA | 0 | 0
494 |  | ODU# 2 Outdoor Condensing Unit Manuf: LG Model: ARUM456BTE5 | 1 | EA | 0 | 0
495 |  | ODU# 3 Outdoor Condensing Unit Manuf: LG Model: ARUM168BTE5 | 1 | EA | 0 | 0
First Floor
Duct Work
496 |  | (4"x4") Supply Air Duct Work | 4.87 | LF | 0 | 0
497 |  | (8"x8") Supply Air Duct Work | 62.88 | LF | 0 | 0
498 |  | (10"x10") Supply Air Duct Work | 20 | LF | 0 | 0
499 |  | (24"x24") Return Air Duct Work | 12 | LF | 0 | 0
Fittings
500 |  | (10"x10") to (8"x8") Duct Transition | 1 | EA | 0 | 0
501 |  | (10"x10") to (8"x8") Takeoff /T | 1 | EA | 0 | 0
502 |  | (10"x10") to (4"x4") Takeoff /T | 1 | EA | 0 | 0
503 |  | (4"x4") Connection w/ Fan Coil | 1 | EA | 0 | 0
504 |  | Connection | 1 | EA | 0 | 0
505 |  | (8"x8") Elbow | 2 | EA | 0 | 0
Equipment's & Units
506 |  | Exhaust Fan | 1 | EA | 0 | 0
507 |  | FC# 104 VRV Fan Coil Manuf: LG Model: ARNU243M2A4 | 1 | EA | 0 | 0
508 |  | FC# 106 VRV Fan Coil Manuf: LG Model: ARNU073M2A4 | 1 | EA | 0 | 0
509 |  | FC# 105 VRV Fan Coil Manuf: LG Model: ARNU763M2A4 | 1 | EA | 0 | 0
510 |  | FC# 109 VRV Fan Coil Manuf: LG Model: ARNU073M2A4 | 1 | EA | 0 | 0
511 |  | FC# 110 VRV Fan Coil Manuf: LG Model: ARNU153M2A4 | 1 | EA | 0 | 0
512 |  | FC# 107 VRV Fan Coil Manuf: LG Model: ARNU363M2A5 | 1 | EA | 0 | 0
513 |  | FC# 108 VRV Fan Coil Manuf: LG Model: ARNU073M2A4 | 1 | EA | 0 | 0
514 |  | HC# 104 Hot Water Heating Coil Manuf: AAON Model: CP01-07.50-030.00 | 1 | EA | 0 | 0
515 |  | HC# 105 Hot Water Heating Coil Manuf: AAON Model: CP01-07.50-030.00 | 1 | EA | 0 | 0
516 |  | HC# 106 Hot Water Heating Coil Manuf: AAON Model: CP02-06.25-018.00 | 1 | EA | 0 | 0
517 |  | HC# 107 Hot Water Heating Coil Manuf: AAON Model: CP01-10.00-022.00 | 1 | EA | 0 | 0
518 |  | HC# 108 Hot Water Heating Coil Manuf: AAON Model: CP02-06.25-016.00 | 1 | EA | 0 | 0
519 |  | HC# 109 Hot Water Heating Coil Manuf: AAON Model: CP02-06.25-016.01 | 1 | EA | 0 | 0
520 |  | HC# 110 Hot Water Heating Coil Manuf: AAON Model: CP01-07.50-030.00 | 1 | EA | 0 | 0
521 |  | RH# 101 Ceiling Radiant Heater Manuf: Barcoil-Air | 1 | EA | 0 | 0
522 |  | RH# 102 Ceiling Radiant Heater Manuf: Barcoil-Air | 1 | EA | 0 | 0
523 |  | RH# 103 Ceiling Radiant Heater Manuf: Barcoil-Air | 1 | EA | 0 | 0
524 |  | RH# 104 Ceiling Radiant Heater Manuf: Barcoil-Air | 1 | EA | 0 | 0
525 |  | FSD HVAC & Fir Damper Manuf: RUSKIN | 3 | EA | 0 | 0
526 |  | WH Fuel Fired Water Heater Manuf: RHEEM | 3 | EA | 0 | 0
527 |  | Louvers Manuf: RUSKIN Model: ELF520DD | 1 | EA | 0 | 0
528 |  | AS- 1 Air & Dirt Separation Unit | 1 | EA | 0 | 0
529 |  | AS- 2 Air & Dirt Separation Unit | 1 | EA | 0 | 0
530 |  | AS- 3 Air & Dirt Separation Unit | 1 | EA | 0 | 0
531 |  | B-1 Fuel Fired Hot Water Boiler Unit Manuf: BOSCH | 1 | EA | 0 | 0
532 |  | B-2 Fuel Fired Hot Water Boiler Unit Manuf: BOSCH | 2 | EA | 0 | 0
533 |  | HX- 1 | 1 | EA | 0 | 0
534 |  | HX- 2 | 1 | EA | 0 | 0
535 |  | HBR-101 Heat Recovery Unit Manuf: LG Model: PRHR063A | 1 | EA | 0 | 0
536 |  | HBR-102 Heat Recovery Unit Manuf: LG Model: PRHR043A | 1 | EA | 0 | 0
537 |  | P-1 HVAC Circulation Pump | 1 | EA | 0 | 0
538 |  | P-2 HVAC Circulation Pump | 1 | EA | 0 | 0
539 |  | P-3 HVAC Circulation Pump | 1 | EA | 0 | 0
540 |  | P-4 HVAC Circulation Pump | 1 | EA | 0 | 0
541 |  | P-5 HVAC Circulation Pump | 1 | EA | 0 | 0
Second Floor
Duct Work
542 |  | (4"x4") Supply Air Duct Work | 54.72 | LF | 0 | 0
543 |  | (8"x6") Supply Air Duct Work | 42.28 | LF | 0 | 0
544 |  | (8"x8") Supply Air Duct Work | 12.22 | LF | 0 | 0
545 |  | (8"x10") Supply Air Duct Work | 16.08 | LF | 0 | 0
546 |  | (10"x10") Supply Air Duct Work | 9.86 | LF | 0 | 0
547 |  | (10"x12") Supply Air Duct Work | 13 | LF | 0 | 0
548 |  | (12"x10") Supply Air Duct Work | 31.5 | LF | 0 | 0
549 |  | (12"x12") Supply Air Duct Work | 46.91 | LF | 0 | 0
550 |  | (14"x14") Supply Air Duct Work | 19.76 | LF | 0 | 0
551 |  | (14"x16") Supply Air Duct Work | 13.09 | LF | 0 | 0
552 |  | (24"x24") Supply Air Duct Work | 42 | LF | 0 | 0
553 |  | (24"x24") Return Air Duct Work | 4 | LF | 0 | 0
Fittings
554 |  | (12"x10") to (4"x4") Duct Transition | 1 | EA | 0 | 0
555 |  | (12"x10") to (8"x6") Duct Transition | 2 | EA | 0 | 0
556 |  | (14"x14") to (12"x12") Duct Transition | 1 | EA | 0 | 0
557 |  | (14"x16") to (12"x12") Duct Transition | 1 | EA | 0 | 0
558 |  | (4"x4") Elbow | 1 | EA | 0 | 0
559 |  | (24"x24") Air Split Takeoff | 2 | EA | 0 | 0
560 |  | (8"x8") Turning Van | 1 | EA | 0 | 0
561 |  | (12"x10") to (10"x10") Takeoff /T | 1 | EA | 0 | 0
562 |  | (12"x12") to (12"x10") Takeoff /T | 1 | EA | 0 | 0
563 |  | (14"x14") to (8"x10") Takeoff /T | 1 | EA | 0 | 0
564 |  | (8"x6") to (8"x6") Takeoff /T | 1 | EA | 0 | 0
565 |  | Connection | 5 | EA | 0 | 0
Equipment's & Units
566 |  | (16"x12") Diffusers | 1 | EA | 0 | 0
567 |  | FC# 102 VRF Fan Coil Manuf: LG Model: ARNU763B8A4 | 1 | EA | 0 | 0
568 |  | FC# 103 VRF Fan Coil Manuf: LG Model: ARNU423M2A4 | 1 | EA | 0 | 0
569 |  | FC# 202 VRF Fan Coil Manuf: LG Model: ARNU483M3A4 | 1 | EA | 0 | 0
570 |  | FC# 203 VRF Fan Coil Manuf: LG Model: ARNU763B8A4 | 1 | EA | 0 | 0
571 |  | FC# 204 VRF Fan Coil Manuf: LG Model: ARNU073M2A4 | 1 | EA | 0 | 0
572 |  | FC# 205 VRF Fan Coil Manuf: LG Model: ARNU423M2A4 | 1 | EA | 0 | 0
573 |  | FC# 206 VRF Fan Coil Manuf: LG Model: ARNU483M3A4 | 1 | EA | 0 | 0
574 |  | FC# 207 VRF Fan Coil Manuf: LG Model: ARNU543M3A4 | 1 | EA | 0 | 0
575 |  | FC# 208 VRF Fan Coil Manuf: LG Model: ARNU073M2A4 | 1 | EA | 0 | 0
576 |  | FC# 209 VRF Fan Coil Manuf: LG Model: ARNU153M2A4 | 1 | EA | 0 | 0
577 |  | FC# 210 VRF Fan Coil Manuf: LG Model: ARNU763M2A4 | 1 | EA | 0 | 0
578 |  | HC# 102 Hot Water Heating Coil Manuf: AAON Model: CP01-10.00-049.00 | 1 | EA | 0 | 0
579 |  | HC# 103 Hot Water Heating Coil Manuf: AAON Model: CP01-10.00-038.00 | 1 | EA | 0 | 0
580 |  | HC# 202 Hot Water Heating Coil Manuf: AAON Model: CP01-10.00-032.00 | 1 | EA | 0 | 0
581 |  | HC# 203 Hot Water Heating Coil Manuf: AAON Model: CP01-10.00-032.00 | 1 | EA | 0 | 0
582 |  | HC# 204 Hot Water Heating Coil Manuf: AAON Model: CP01-07.50-012.00 | 1 | EA | 0 | 0
583 |  | HC# 205 Hot Water Heating Coil Manuf: AAON Model: CP01-10.00-030.00 | 1 | EA | 0 | 0
584 |  | HC# 206 Hot Water Heating Coil Manuf: AAON Model: CP01-10.00-030.00 | 1 | EA | 0 | 0
585 |  | HC# 207 Hot Water Heating Coil Manuf: AAON Model: CP01-10.00-030.00 | 1 | EA | 0 | 0
586 |  | HC# 208 Hot Water Heating Coil Manuf: AAON Model: CP01-10.00-034.00 | 1 | EA | 0 | 0
587 |  | HC# 209 Hot Water Heating Coil Manuf: AAON Model: CP01-06.25-018.00 | 1 | EA | 0 | 0
588 |  | HC# 210 Hot Water Heating Coil Manuf: AAON Model: CP01-06.25-018.00 | 1 | EA | 0 | 0
589 |  | FSD HVAC & Fir Damper Manuf: RUSKIN | 3 | EA | 0 | 0
590 |  | WH Fuel Fired Water Heater Manuf: RHEEM | 3 | EA | 0 | 0
591 |  | Louvers Manuf: RUSKIN Model: ELF520DD | 1 | EA | 0 | 0
592 |  | HBR-201 Heat Recovery Unit Manuf: LG Model: PRHR063A | 1 | EA | 0 | 0
593 |  | HBR-301 Heat Recovery Unit Manuf: LG Model: PRHR063A | 1 | EA | 0 | 0
594 |  | HBR-302 Heat Recovery Unit Manuf: LG Model: PRHR063A | 1 | EA | 0 | 0
595 |  | RH# 101 Ceiling Radiant Heater Manuf: Barcoil-Air | 1 | EA | 0 | 0
596 |  | RH# 102 Ceiling Radiant Heater Manuf: Barcoil-Air | 1 | EA | 0 | 0
597 |  | RH# 103 Ceiling Radiant Heater Manuf: Barcoil-Air | 1 | EA | 0 | 0
598 |  | RH# 104 Ceiling Radiant Heater Manuf: Barcoil-Air | 1 | EA | 0 | 0
599 |  | Exhaust Fan | 1 | EA | 0 | 0
Third Floor
Duct Work
600 |  | (6"x6") Supply Air Duct Work | 4.49 | LF | 0 | 0
601 |  | (6"x8") Supply Air Duct Work | 12.22 | LF | 0 | 0
602 |  | (12"x10") Supply Air Duct Work | 50.97 | LF | 0 | 0
603 |  | (10"x8") Supply Air Duct Work | 6.46 | LF | 0 | 0
Fittings
604 |  | (12"x10") to (6"x8") Duct Transition | 1 | EA | 0 | 0
605 |  | (12"x10") to (6"x6") Takeoff /T | 1 | EA | 0 | 0
606 |  | (12"x10") to (12"x10") Takeoff /T | 1 | EA | 0 | 0
607 |  | (12"x10") to (10"x8") Takeoff /T | 1 | EA | 0 | 0
608 |  | Exhaust Fan | 1 | EA | 0 | 0
Equipment's & Units
609 |  | FC# 301 VRV Fan Coil Manuf: LG Model: ARNU763B8A4 | 1 | EA | 0 | 0
610 |  | FC# 302 VRV Fan Coil Manuf: LG Model: ARNU283M2A4 | 1 | EA | 0 | 0
611 |  | FC# 303 VRV Fan Coil Manuf: LG Model: ARNU423M2A4 | 1 | EA | 0 | 0
612 |  | FC# 304 VRV Fan Coil Manuf: LG Model: ARNU073M2A4 | 1 | EA | 0 | 0
613 |  | FC# 305 VRV Fan Coil Manuf: LG Model: ARNU243M2A4 | 1 | EA | 0 | 0
614 |  | HC# 301 Hot Water Heating Coil Manuf: AAON Model: CP01-10.00-032.00 | 1 | EA | 0 | 0
615 |  | HC# 302 Hot Water Heating Coil Manuf: AAON Model: CP01-07.00-026.00 | 1 | EA | 0 | 0
616 |  | HC# 303 Hot Water Heating Coil Manuf: AAON Model: CP01-10.00-030.00 | 1 | EA | 0 | 0
617 |  | HC# 304 Hot Water Heating Coil Manuf: AAON Model: CP01-06.25-018.00 | 1 | EA | 0 | 0
618 |  | HC# 305 Hot Water Heating Coil Manuf: AAON Model: CP01-07.50-030.00 | 1 | EA | 0 | 0
619 |  | RH# 101 Ceiling Radiant Heater Manuf: Barcoil-Air | 1 | EA | 0 | 0
620 |  | RH# 102 Ceiling Radiant Heater Manuf: Barcoil-Air | 1 | EA | 0 | 0
621 |  | RH# 103 Ceiling Radiant Heater Manuf: Barcoil-Air | 1 | EA | 0 | 0
622 |  | RH# 104 Ceiling Radiant Heater Manuf: Barcoil-Air | 1 | EA | 0 | 0
623 |  | FSD HVAC & Fir Damper Manuf: RUSKIN | 3 | EA | 0 | 0
624 |  | WH Fuel Fired Water Heater Manuf: RHEEM | 3 | EA | 0 | 0
625 |  | Louvers Manuf: RUSKIN Model: ELF520DD | 1 | EA | 0 | 0
626 |  | HBR-301 Heat Recovery Unit Manuf: LG Model: PRHR063A | 1 | EA | 0 | 0
[5 empty] | TOTAL HVAC/ MECHANICAL COST | 0
Index | Dwg Reference # | Description | QTY | UNIT | UNIT PRICE | TOTAL | Comments
| E2.01 E2.02 E2.03 E3.01 E3.02 | ELECTRICAL
Level 1
Electrical Power Plans
627 |  | 208V Or 240V Power Panel Board | 9 | EA | 0 | 0
627 |  | Duplex Receptacles 120V | 73 | EA | 0 | 0
628 |  | WP Ground Fault Interrupter With Weather Resistant Cover | 5 | EA | 0 | 0
628 |  | Controlled Duplex Receptacles | 4 | EA | 0 | 0
629 |  | Controlled Double Duplex Receptacles | 2 | EA | 0 | 0
629 |  | Enclosed Circuit Breaker | 1 | EA | 0 | 0
Connections
630 |  | Equipment Connection | 1 | EA | 0 | 0
630 |  | FAA | 1 | EA | 0 | 0
631 |  | SPD Surge Protective Device | 2 | EA | 0 | 0
631 |  | LCP Lighting Controlled Panel | 1 | EA | 0 | 0
Connections
632 |  | Equipment Connection | 4 | EA | 0 | 0
632 |  | FACP Fire Alarm Controlled Panel | 1 | EA | 0 | 0
633 |  | MSB-1 Main Switch Board | 1 | EA | 0 | 0
633 |  | Receptacle, Nema# | 14 | EA | 0 | 0
Level 2
Electrical Power Plans
634 |  | Duplex Receptacles 120V | 37 | EA | 0 | 0
634 |  | Controlled Duplex Receptacles | 2 | EA | 0 | 0
635 |  | Controlled Double Duplex Receptacles | 1 | EA | 0 | 0
635 |  | Double Duplex Receptacle | 3 | EA | 0 | 0
636 |  | Multi Service Poke Thru | 3 | EA | 0 | 0
636 |  | LCP Lighting Controlled Panel | 1 | EA | 0 | 0
637 |  | 208V Or 240V Power Panel Board | 4 | EA | 0 | 0
637 |  | SPD Surge Protective Device | 1 | EA | 0 | 0
Level 3
Electrical Power Plans
638 |  | Duplex Receptacles 120V | 33 | EA | 0 | 0
638 |  | WP Ground Fault Interrupter With Weather Resistant Cover | 6 | EA | 0 | 0
639 |  | 208V Or 240V Power Panel Board | 6 | EA | 0 | 0
639 |  | SPD Surge Protective Device | 1 | EA | 0 | 0
640 |  | LCP Lighting Controlled Panel | 1 | EA | 0 | 0
640 |  | Receptacle, Nema# | 4 | EA | 0 | 0
Level 1
Mechanical Power Plans
Connections
641 |  | Equipment Connection | 20 | EA | 0 | 0
641 |  | Fused Safety Switch | 13 | EA | 0 | 0
642 |  | Motor Switch | 1 | EA | 0 | 0
Level 2
Mechanical Power Plans
Connections
643 |  | Equipment Connection | 11 | EA | 0 | 0
643 |  | Fused Safety Switch | 11 | EA | 0 | 0
Level 3
Mechanical Power Plans
Connections
644 |  | Equipment Connection | 14 | EA | 0 | 0
644 |  | Fused Safety Switch | 13 | EA | 0 | 0
645 |  | Motor Switch | 1 | EA | 0 | 0
Level 1
Lighting Plans
646 |  | PS Photo Sensor Control | 4 | EA | 0 | 0
646 |  | CS Low Voltage Control Station | 14 | EA | 0 | 0
647 |  | OS Occupancy Sensor Switch Ceiling Mounted | 15 | EA | 0 | 0
647 |  | Surface Mounted Rectangular Luminar | 10 | EA | 0 | 0
648 |  | Wall Mounted Rectangular Luminar | 10 | EA | 0 | 0
648 |  | Single Pole Switch | 8 | EA | 0 | 0
649 |  | Three Way Switch | 4 | EA | 0 | 0
649 |  | Light Fixture | 22 | EA | 0 | 0
650 |  | Recessed Downlight Luminar | 24 | EA | 0 | 0
Level 2
Lighting Plans
651 |  | PS Photo Sensor Control | 11 | EA | 0 | 0
651 |  | CS Low Voltage Control Station | 10 | EA | 0 | 0
652 |  | OS Occupancy Sensor Switch Ceiling Mounted | 10 | EA | 0 | 0
652 |  | Surface Mounted Rectangular Luminar | 1 | EA | 0 | 0
653 |  | Wall Mounted Rectangular Luminar | 6 | EA | 0 | 0
653 |  | Light Fixture | 3 | EA | 0 | 0
654 |  | Recessed Downlight Luminar | 12 | EA | 0 | 0
654 |  | Three Way Switch | 2 | EA | 0 | 0
Level 3
Lighting Plans
655 |  | PS Photo Sensor Control | 5 | EA | 0 | 0
655 |  | CS Low Voltage Control Station | 4 | EA | 0 | 0
656 |  | OS Occupancy Sensor Switch Ceiling Mounted | 4 | EA | 0 | 0
Level 1
Fire Protection Plan
657 |  | Fire Service Header | 1 | EA | 0 | 0
656 |  | DCVA Double Check Valve | 1 | EA | 0 | 0
[5 empty] | TOTAL ELECTRICAL COST | 0
Index | Dwg Reference # | Description | QTY | UNIT | UNIT PRICE | TOTAL | Comments
| C-3.0 C-3.01 C-3.02 | EARTHWORK
Earth Work
Trenching
658 |  | (12") Strom Drain | 39.2 | CY | 0 | 0
659 |  | (8") Domestic Water Service | 137.8 | CY | 0 | 0
660 |  | (6") Fire Service | 36.9 | CY | 0 | 0
661 |  | (8") Fire Service | 25.5 | CY | 0 | 0
662 |  | (48") Strom Drain | 821.5 | CY | 0 | 0
Bedding
663 |  | (12") Strom Drain Gravel Back Fill | 9.88 | CY | 0 | 0
664 |  | (12") Strom Drain Back Fill | 26.8981 | CY | 0 | 0
665 |  | (8") Domestic Water Service Gravel Back Fill | 33.9 | CY | 0 | 0
666 |  | (8") Domestic Water Service Back Fill | 123.1481 | CY | 0 | 0
667 |  | (6") Fire Service Gravel Back Fill | 9.2 | CY | 0 | 0
668 |  | (6") Fire Service Back Fill | 26.9 | CY | 0 | 0
669 |  | (8") Fire Service Gravel Back Fill | 6.4 | CY | 0 | 0
670 |  | (8") Fire Service Back Fill | 18.2 | CY | 0 | 0
671 |  | (48") Strom Drain Gravel Back Fill | 106 | CY | 0 | 0
672 |  | (48") Strom Drain Back Fill | 7 | CY | 0 | 0
[5 empty] | TOTAL EARTHWORK COST | 0
[5 empty] | SUBTOTAL | 0
|  | ADDITIONAL NOTES |  |  | enter total amount DISCOUNT | 0
[5 empty] | SUBTOTAL LESS DISCOUNT | 0
[5 empty] | enter percentage TAX RATE | 0%
[5 empty] | TOTAL TAX | 0
[5 empty] | SHIPPING/HANDLING | 0
[5 empty] | OTHER | 0
[5 empty] | TOTAL | 0

## Our Services
Our Services : Muhammad@mfbzone.com
Scheduling ¦ Quantities Take-offs ¦ Cost Estimation ¦ Websites Development ¦ Data Entry
We supply a thorough materials list that you may use to place an order with the supplier or to work on the job site. We can provide you Counts, Thickness, Height, Width, Length, Depth, Area, Yards, Pounds, Sq.Ft, LF, and other pertinent information.
1 | Our Average Fees are like $100, $200, $300, $500 – depending on the size and scope of the work.
2 | With us, you can bid more construction projects without adding More full-time staff.
3 | For your Scope: I can provide you the Quantities and Measurements along with Standard Labor/materials Costs.
Accurate Quantities & Cost Estimates I can provide for:
1 | Earthwork – [Grading, Trenching, Excavation, Backfill, etc.]
2 | Concrete and Rebars – [Beams, Columns, Footings, Piles, etc.]
3 | Masonry – [Stone, Brick, CMU]
4 | Metals – [Ornamental, Structural, Miscellaneous]
5 | Framing – [Wood & Metal) - Lumber Takeoffs]
6 | Wood and Plastic Composites – [Finish and Rough Carpentry, Woodwork.]
7 | Thermal & Moisture Protection – [Exterior, Roof, Damp proofing and Waterproofing, Flashing and Sheet Metal.]
8 | Openings – [Doors, Windows, Storefronts, Louvers, Vents, Curtain Walls, Skylights]
9 | Finishes – [Drywall, Flooring, Paint, Tiles, Ceilings, Wall Panels]
10 | Specialties – [Interior and Exterior Specialties, Safety Specialties, Storage Specialties, Fireplaces.]
11 | Equipment and Furnishings
12 | MEP – [Mechanical, Electrical, Plumbing]
So, if you can forward me the drawings, I can review and let you know my exact fee and turnaround time. Only after your approval I will proceed and There is no fee to review the plans.
I am already working with companies like yours for:
1 | Their estimating needs to bid more jobs OR
2 | They use us to Compare/Cross-Check their in-house Estimates.
3 | By Allowing us to work with you, you can utilize your time more effectively concentrating on the job in hand.
You will Receive:
1 | • Editable Takeoff Sheet [with all the materials quantities].
2 | • Detailed Estimate [Material, Labor, Equipment etc.]
3 | • Color-Coded (Markups) Drawings so that you can see how and where we took the details.
4 | • Summary Sheets [if required]
5 | • Software File [Plan Swift].

## Why Us
Why US: Muhammad@mfbzone.com
Why us:
1. Accuracy: We will never send you the work without double-checking it.
2. Availability: We are always available for any questions/clarifications via Email or Call/Zoom or Text – 24/7.
3. Attention: You will have our undivided attention. You will have to explain just one time what you, when you need and how you need. We will make it happen.
4. Trust Development: We are not after one time business, we want to become an extension to your Business for all of your estimating needs, scheduling needs and Materials Takeoffs (Details).
5. Multiple Payment Options: You can Pay with Debit/Credit Card, Check or ACH Transfer. Also, we have options for: Zelle or PayPal.
6. Focused Work: We will take on projects with the highest level of detail. I think what sets us apart from other companies is our customer service, honesty, dedication, and communication.
7. Meeting Deadlines: We always meet the schedules and finish projects at or ahead of the deadline.
8. Experienced: We have been in estimating business for almost 10 years now and have 90 employees. We are looking to grow slowly while maintaining our quality and commitments to our clients.
9. Surety: With us, you will never have any issue of quality or turnaround.